## Overall Test Report
Total Test Cases | 18
Passed | 15
Failed | 0
Not Tested | 5

## Test Cases & Results
1. Simulate temp rising to 45°C. | Priority | Description/Test Summary | Pre-Condition | Test Steps | Expected Result | Actual result | Test Result | Test Result | Test Result
2. Observe system logs/alerts. | High | Verify temp & humidity sensor triggers fire alert at >40°C | System powered on, sensor connected | 1. Simulate temp rising to 45°C 2. Monitor readings 3. Check alert status | Fire alert triggered | Flame detected, false alarm rejected | Pass | Pass | Pass
1 | High | Verify IR sensor detects flames via flickering IR patterns | Mock heat source available, sensor connected | 1. Place controlled flame near IR sensor 2. Place hot object (non-flame) for false alarm test | Flame detected, false alarm rejected | LDR value decreases, smoke alert triggered | Pass | Pass | Pass
2 | Medium | Verify LDR detects smoke | mock room lit, system on | 1. Introduce smoke (incense stick) 2. Observe LDR readings | LDR value decreases, smoke alert triggered | Camera feed visible on system | Pass | Pass | Pass
3 | Medium | Verify ultrasonic sensor detects human presence | mock room empty, system running | 1. Walk in front of sensor 2. Observe detection status | Human presence correctly detected | Moisture detected if water is released | Pass | Pass | Pass
4 | High | Verify moisture sensor detects sprinkler activation | Mock Sprinkler functional | 1. Activate sprinkler 2. Check moisture sensor output | Moisture detected if water is released | Alert triggered immediately | Pass | Pass | Pass
5 | High | Verify system triggers fire alert on any sensor input | Mock System on | 1. Trigger sensor (temp >40°C or IR flame) 2. Observe system | Alert triggered immediately | Camera input enhances confirmation | Pass | Pass | Pass
6 | Medium | Verify ultrasonic sensor detects presence during fire | Mock Person inside room | 1. Trigger fire event 2. Check if occupant presence is detected | Occupant detection logged | Notification sent to SCDF + residents | Pass | Pass | Pass
7 | High | Verify system notifies SCDF & residents | Mock Fire detected | 1. Simulate fire 2. Check telegram/email logs | Notification sent to SCDF + residents | System armed after card detected | Pass | Pass | Pass
8 | Medium | Verify system activates only after RFID card detected | Mock RFID card registered | 1. Scan valid RFID card 2. Observe system | System armed after card detected | Wrong code rejected, correct code stops alarm | Pass | Pass | Pass
9 | High | Verify keypad can deactivate alert with correct code | Mock System in alarm state | 1. Enter wrong code 2. Enter correct code | Wrong code rejected, correct code stops alarm | Servo opens valve, water released | Pass | Pass | Pass
10 | High | Verify sprinkler activates via servo motor | Mock Fire detected | 1. Trigger fire event 2. Observe servo motor action | Servo opens valve, water released | Window opens automatically | Pass | Pass | Pass
11 | Medium | Verify DC motor opens window during fire | Mock Fire detected, motor installed | 1. Trigger fire event 2. Observe motor action | Window opens automatically | System detects failure (no water) | Pass | Pass | Pass
12 | Medium | Verify LCD screen shows fire alert | Mock Fire simulated | 1. Trigger fire 2. Observe LCD | Alert message shown | Loud alarm activated | Pass | Pass | Pass
13 | High | Verify buzzer alarm activates | Mock Fire simulated | 1. Trigger fire 2. Observe buzzer | Loud alarm activated | Residents + SCDF notified | Pass | Pass | Pass
14 | High | Verify notifications sent via telegram/email | Mock Fire simulated | 1. Trigger fire 2. Check alerts on devices | Residents + SCDF notified | Residents + SCDF notified | Pass | Pass | Pass
[7 empty] | Not Tested | Not Tested | Not Tested
[7 empty] | Not Tested | Not Tested | Not Tested
1 | [8 empty] | Not Tested
2 | [8 empty] | Not Tested
3 | [8 empty] | Not Tested

## Enums (hidden)
Pass
Fail
Not Tested
High Impact
Mid Impact
Low Impact